English Subtitle

Safe vegetables are in high demand, driving the growth of modern farming communities across Cambodia.

That's why ISI STEEL has developed a new solution to help Cambodian farmers build high-quality greenhouses quickly and easily.

Introducing the ISI GREENHOUSE Building Solutions—a reliable and durable system made with ISI PIPE®, manufactured to meet international ISO 9001:2015 standards. It is designed to withstand Cambodia's average wind speed of 72 km/h.

The ISI GREENHOUSE Building Solutions offers 4 unique features: a durable design, quick assembly with zero welding, high-quality materials, and ease of reinstallation.

The ISI GREENHOUSE Building Solutions come with a standard width of 10m, a length of 30m, a total height of either 4m or 5m, and a base height of 2.2m or 3.2m.

You can find more details in the following instructions.

Before installation, make sure to prepare the necessary tools and materials, including safety equipment, measuring tools, installation tools, and roofing materials as shown.

Step 1: Choose the location for the concrete footing based on the provided plan and instructions.

Step 2: Place the column frame components on a flat surface and connect them using the factory-specified bolts and screws. Next, position the assembled column frame on top of each footing. Install the next column frame in sequence, connecting the two frames together. Continue assembling the frames until the entire structure is complete. Finally, pour 40mm of non-shrinkage grout between the columns and the concrete footing.

Step 3: Screw the C-shaped steel frame to the ISI GREENHOUSE structure frame. Next, attach UV-resistant plastic or mesh to each section of the frame.

Now you have a beautiful greenhouse ready to use!

ISI GREENHOUSE Building Solutions – the solutions you can trust for your better living.